NO112519C_Camui_305A/306A_CalBryte630AM_10Ca_2Ca 25nM Calyc

cells are~ 90% confluency,   1DAT,

Laser Calibration 930 nm (1850mW at the laser screen, software) not calibrated

7%=0.8mW

8%=0.97mW

9%=1.1mw

10%=1.2mW

11%=1.32mW

12%=1.45mW

13%=1.6mW

14%=1.7mW

15%=1.86mW

Laser Calibration 1010 nm (920mW at the laser screen, software)-

9% = 1.09mW

10% = 1.2mW

12% = 1.5mW

13% = 1.6mW

14% = 1.7mW

15% = 1.8mW

16% = 2.0mW

17% = 2.1 mW

18% = 2.2 mW

19%=2.3mW

Laser 1010 18 %

HBSS 0Ca,

1uL aliquots of 8 mM conc were prepared by Nick on Nov 14th, by adding 20ul of DMSO to 50uL dye. Then 1ul of this dye stock was added to 500ul of (DMEM+FBS) /0.02% pluronic PF-127.  The latter was prepared  by adding 3.5 ul of 10%pluronic (in DW prepared 11.14.19) to 10 ml of DMEM.

get a final dye conc of about 4uM.

2 mM and 10 mM solutions (HBSS prepared by Nick on Nov 21st, 2019) contained 1uMlatrunculin A (5uL volume from aliquots) and 25nM Caliculin A. (0.5uL volume from -80 eppendorf containing the stock) (Caliculin prepared from old stock and Latrunculin prepared from stock 11.14.19)

128x128; Aver =20, 10x1um stack

Loc1- 5m lt 1.74

Loc 2-5m1b lt 1.78,

Loc 3-6m1b lt 1.78

Loc 4-5m lt 1.77

Loc 5-

Loc 6-

Loc 7-

Loc 8-

Loc 9 –

Loc 10-

Loc 11-

Loc 12-

Loc13-

Loc14-

Loc15-

Loc16-

Loc17-

Loc18-

Loc19-

Loc20 -

Loc21 –

Loc22-

Loc23-

Loc24-

Loc25-

Loc26-

Loc27

AI  pos 20 (position – 12- dendritic imaging)

10 im stack  20 aver (77 sec total)

Start with HBSS/0Ca (25mMHEPES) (prepared from HBSS/0Ca (Nick 11.08.19)

After img5 start HBSS/10Calcium 100uM ATP

After 12 Start with HBSS/2Ca

After 19, start recirculating HBSS/2Ca

Img 46 end (was recorded for 60 minutes0

(image 7 )

(image 13)